## Pt4f
Binding Energy | Corrected Data | Raw Data | Transmission | BE | Residuals | Background | Calculated Fit | Pt4f7/2 p1 | Pt4f5/2_p2 | ID | Peak Label | Position (eV) | Height (CPS) | FWHM (eV) | σ/γ (%) L/G | Area (CPS.eV) | σ W_g | γ W_l | W_g Skew | Conc. (%) | A/Aᴀ | Split (eV) | Fitting Model | Bkg Type | Bkg Low (eV) | Bkg High (eV) | Bkg Offset Low (CPS) | Bkg Offset High (CPS) | Experimental Description | Unnamed: 50
89.99 | 663.0585 | 544.369 | 0.821 | 89.99 | -64.3545 | 663.06 | 727.4145 | 699.872 | 690.6024 | A | Pt4f7/2 p1 | 71.11 | 5383 | 0.94 | 32.80 | 8632 | 0.541 | 0.264 | 0.104 | 57.5 | 100.0 | 0.00 | DS*G (A, Wg, Wl, S) | Multi-Regions Smart | 61.99 | 89.99 | 0.00 | 0.00 | Sample ID | Pt #002
89.89 | 719.3057 | 590.509 | 0.82094 | 89.89 | -64.3545 | 719.31 | 783.6645 | 756.122 | 746.8524 |  |  | 61.99,89.99 | 1:1e7 | 0.3:3.5 | 2:80 | 1:1e7 | 0.3:1.5 | 0.1:1.5 | 0:0.2 | [9 empty] | Date | 2023/8/9
89.79 | 655.6335 | 538.203 | 0.82089 | 89.79 | -64.3545 | 655.63 | 719.9845 | 692.442 | 683.1724 | B | Pt4f5/2_p2 | 74.43 | 3979 | 0.94 | 32.80 | 6381 | 0.541 | 0.264 | 0.104 | 42.5 | 73.9 | 3.32 | DS*G (A, Wg, Wl, S) | Multi-Regions Smart | 61.99 | 89.99 | 0.00 | 0.00 | Time | 8:8:56
89.69 | 696.1939 | 571.461 | 0.82084 | 89.69 | -64.3545 | 696.19 | 760.5445 | 733.002 | 723.7324 |  |  | A+3.3#0.2 | A*0.75#0.05 | A*1 | A*1 | A*0.75#0.05 | A*1 | A*1 | A*1 | [9 empty] | Technique | XPS
89.59 | 727.9634 | 597.5 | 0.82078 | 89.59 | -64.3545 | 727.96 | 792.3145 | 764.772 | 755.5024 | Please cite KherveFitting software: Kerherve G. et al. Surface and Interface Analysis (2025) TBD | [18 empty] | Species & Transition | Pt 4f
89.49 | 719.0802 | 590.17 | 0.82073 | 89.49 | -64.3545 | 719.08 | 783.4345 | 755.892 | 746.6224 | [19 empty] | Number of scans | 1
89.39 | 687.2761 | 564.031 | 0.82068 | 89.39 | -64.3545 | 687.28 | 751.6345 | 724.092 | 714.8224 | [19 empty] | Source Label | KA1486
89.29 | 702.4647 | 576.458 | 0.82062 | 89.29 | -64.3545 | 702.46 | 766.8145 | 739.272 | 730.0024 | [19 empty] | Source Energy | 1486.68
89.19 | 713.1926 | 585.223 | 0.82057 | 89.19 | -64.3545 | 713.19 | 777.5445 | 750.002 | 740.7324 | [19 empty] | Source width X | 1e+37
89.09 | 682.7761 | 560.228 | 0.82051 | 89.09 | -64.3545 | 682.78 | 747.1345 | 719.592 | 710.3224 | [19 empty] | Source width Y | 1e+37
88.99 | 676.3783 | 554.942 | 0.82046 | 88.99 | -64.3545 | 676.38 | 740.7345 | 713.192 | 703.9224 | [19 empty] | Pass Energy | 20
88.89 | 690.9257 | 566.841 | 0.82041 | 88.89 | -64.3545 | 690.93 | 755.2845 | 727.742 | 718.4724 | [19 empty] | Work Function | 1e+37
88.79 | 661.9947 | 543.07 | 0.82035 | 88.79 | -64.3545 | 661.99 | 726.3445 | 698.802 | 689.5324 | [19 empty] | Analyzer Mode | FAT
88.69 | 696.1359 | 571.041 | 0.8203 | 88.69 | -64.3545 | 696.14 | 760.4945 | 732.952 | 723.6824 | [19 empty] | Sputtering Energy
88.59 | 681.1692 | 558.727 | 0.82025 | 88.59 | -64.3545 | 681.17 | 745.5245 | 717.982 | 708.7124 | [19 empty] | Take-off Polar Angle | 1e+37
88.49 | 684.8916 | 561.744 | 0.82019 | 88.49 | -64.3545 | 684.89 | 749.2445 | 721.702 | 712.4324 | [19 empty] | Take-off Azimuth | 1e+37
88.39 | 676.6967 | 554.986 | 0.82014 | 88.39 | -67.8348 | 676.7 | 744.5348 | 713.512 | 707.7227 | [19 empty] | Target Bias | 1e+37
88.29 | 716.5935 | 587.669 | 0.82009 | 88.29 | -75.6917 | 716.59 | 792.2817 | 753.402 | 755.4697 | [19 empty] | Analysis Width X | 1e+37
88.19 | 700.3413 | 574.303 | 0.82003 | 88.19 | -81.5837 | 700.34 | 781.9237 | 737.152 | 745.1116 | [19 empty] | Analysis Width Y | 1e+37
88.09 | 696.3023 | 570.954 | 0.81998 | 88.09 | -85.3288 | 696.3 | 781.6288 | 733.112 | 744.8168 | [19 empty] | X Label | Kinetic Energy
87.99 | 649.7993 | 532.788 | 0.81993 | 87.99 | -87.4087 | 649.8 | 737.2087 | 686.612 | 700.3966 | [19 empty] | X Units | eV
87.89 | 662.5319 | 543.192 | 0.81987 | 87.89 | -88.497 | 662.53 | 751.027 | 699.342 | 714.215 | [19 empty] | X Start | 1396.68
87.79 | 655.9806 | 537.786 | 0.81982 | 87.79 | -89.119 | 655.98 | 745.099 | 692.792 | 708.287 | [19 empty] | X Step | 0.1
87.69 | 658.333 | 539.679 | 0.81977 | 87.69 | -89.5665 | 658.33 | 747.8965 | 695.142 | 711.0845 | [19 empty] | Num Y Values | 562
87.59 | 663.4371 | 543.828 | 0.81971 | 87.59 | -89.964 | 663.44 | 753.404 | 700.252 | 716.5919 | [19 empty] | Num Scans | 1
87.49 | 673.6253 | 552.143 | 0.81966 | 87.49 | -90.353 | 673.63 | 763.983 | 710.442 | 727.171 | [19 empty] | Collection Time | 0.05
87.39 | 714.497 | 585.606 | 0.81961 | 87.39 | -90.7451 | 714.5 | 805.2451 | 751.312 | 768.433 | [19 empty] | Time Correction | 1e+37
87.29 | 672.6581 | 551.279 | 0.81955 | 87.29 | -91.1427 | 672.66 | 763.8027 | 709.472 | 726.9907 | [19 empty] | Y Unit | d
87.19 | 652.3852 | 534.629 | 0.8195 | 87.19 | -91.5466 | 652.39 | 743.9366 | 689.202 | 707.1245 | [19 empty] | # Comment Lines | 10
87.09 | 682.0035 | 558.865 | 0.81945 | 87.09 | -91.9567 | 682 | 773.9567 | 718.812 | 737.1447 | [19 empty] | Block Comment | Casa Info Follows 0 0 0 0 Pt #002 X Y [22307.5 , 37642.2] X-ray spot-size: 100 um by 100 um 230809_Pt_Plate_004_Etch1 Standard 9/8/2023 08:08:56 C:\Users\gwilh\OneDrive - Imperial College London\Documents\MEGAsync\Conference\Harwell Workshop 2024\Workshop2024\Workshop2024\CasaXPSTipsAndTricks\PtFoil_Etch2000evMid.vms
86.99 | 646.3146 | 529.585 | 0.81939 | 86.99 | -92.3735 | 646.31 | 738.6835 | 683.122 | 701.8714
86.89 | 632.4952 | 518.228 | 0.81934 | 86.89 | -92.7969 | 632.5 | 725.2969 | 669.312 | 688.4849
86.79 | 666.8001 | 546.3 | 0.81929 | 86.79 | -93.2272 | 666.8 | 760.0272 | 703.612 | 723.2152
86.69 | 746.9337 | 611.912 | 0.81923 | 86.69 | -93.6645 | 746.93 | 840.5945 | 783.742 | 803.7825
86.59 | 650.4366 | 532.824 | 0.81918 | 86.59 | -94.1091 | 650.44 | 744.5491 | 687.252 | 707.737
86.49 | 674.8974 | 552.826 | 0.81913 | 86.49 | -94.561 | 674.9 | 769.461 | 711.712 | 732.649
86.39 | 673.8541 | 551.935 | 0.81907 | 86.39 | -95.0205 | 673.85 | 768.8705 | 710.662 | 732.0585
86.29 | 659.8724 | 540.448 | 0.81902 | 86.29 | -95.4878 | 659.87 | 755.3578 | 696.682 | 718.5458
86.19 | 716.8405 | 587.068 | 0.81897 | 86.19 | -79.4331 | 700.31 | 796.2731 | 737.122 | 759.4611
86.09 | 665.6808 | 545.134 | 0.81891 | 86.09 | -128.3166 | 697.55 | 793.9966 | 734.362 | 757.1845
85.99 | 718.4045 | 588.272 | 0.81886 | 85.99 | -76.1185 | 697.58 | 794.5185 | 734.392 | 757.7064
85.89 | 692.9492 | 567.391 | 0.81881 | 85.89 | -102.089 | 697.6 | 795.039 | 734.412 | 758.227
85.79 | 667.0884 | 546.18 | 0.81875 | 85.79 | -128.4284 | 697.57 | 795.5184 | 734.382 | 758.7063
85.69 | 664.3724 | 543.921 | 0.8187 | 85.69 | -131.7369 | 697.64 | 796.1069 | 734.452 | 759.2948
85.59 | 617.7615 | 505.728 | 0.81865 | 85.59 | -178.9947 | 697.76 | 796.7547 | 734.572 | 759.9427
85.49 | 656.7228 | 537.588 | 0.81859 | 85.49 | -140.7822 | 697.97 | 797.5022 | 734.782 | 760.6901
85.39 | 730.7764 | 598.169 | 0.81854 | 85.39 | -67.4996 | 698.2 | 798.2796 | 735.012 | 761.4675
85.29 | 637.8814 | 522.097 | 0.81849 | 85.29 | -160.9771 | 698.22 | 798.8571 | 735.032 | 762.045
85.19 | 615.9815 | 504.139 | 0.81843 | 85.19 | -183.4951 | 698.27 | 799.4751 | 735.082 | 762.663
85.09 | 699.6489 | 572.578 | 0.81838 | 85.09 | -103.0282 | 698.55 | 802.6782 | 737.7064 | 763.5217
84.99 | 682.0888 | 558.171 | 0.81833 | 84.99 | -132.2243 | 698.7 | 814.3143 | 748.7527 | 764.2616
84.89 | 673.6444 | 551.225 | 0.81827 | 84.89 | -149.7641 | 698.73 | 823.4041 | 757.2413 | 764.8928
84.79 | 677.5264 | 554.365 | 0.81822 | 84.79 | -152.1134 | 698.81 | 829.6434 | 762.8677 | 765.5857
84.69 | 655.0553 | 535.944 | 0.81817 | 84.69 | -178.4483 | 698.9 | 833.5083 | 766.1075 | 766.3007
84.59 | 719.9238 | 588.979 | 0.81811 | 84.59 | -115.9971 | 699.02 | 835.9171 | 767.8789 | 767.0582
84.49 | 734.7652 | 601.082 | 0.81806 | 84.49 | -102.7515 | 699.06 | 837.5215 | 768.8329 | 767.7486
84.39 | 731.3348 | 598.237 | 0.81801 | 84.39 | -107.3806 | 698.96 | 838.7106 | 769.3585 | 768.3121
84.29 | 728.2326 | 595.66 | 0.81795 | 84.29 | -111.5655 | 698.83 | 839.7955 | 769.7662 | 768.8593
84.19 | 726.0215 | 593.813 | 0.8179 | 84.19 | -114.8671 | 698.71 | 840.8871 | 770.1665 | 769.4306
84.09 | 681.9601 | 557.739 | 0.81785 | 84.09 | -160.0456 | 698.6 | 842.0056 | 770.5792 | 770.0264
83.99 | 647.7707 | 529.743 | 0.81779 | 83.99 | -195.4664 | 698.58 | 843.2364 | 771.0891 | 770.7273
83.89 | 699.6551 | 572.136 | 0.81774 | 83.89 | -144.9807 | 698.71 | 844.6407 | 771.7571 | 771.5936
83.79 | 721.1292 | 589.658 | 0.81769 | 83.79 | -124.8995 | 698.8 | 846.0295 | 772.3937 | 772.4359
83.69 | 657.9301 | 537.946 | 0.81763 | 83.69 | -189.3836 | 698.76 | 847.3136 | 772.9089 | 773.1647
83.59 | 682.3776 | 557.899 | 0.81758 | 83.59 | -166.3237 | 698.8 | 848.7037 | 773.513 | 773.9907
83.49 | 704.7294 | 576.136 | 0.81753 | 83.49 | -145.4506 | 698.9 | 850.1806 | 774.1863 | 774.8943
83.39 | 687.4608 | 561.982 | 0.81747 | 83.39 | -164.1451 | 698.92 | 851.6051 | 774.7889 | 775.7362
83.29 | 739.5504 | 604.524 | 0.81742 | 83.29 | -113.5081 | 698.94 | 853.0581 | 775.4011 | 776.5971
83.19 | 737.0291 | 602.424 | 0.81737 | 83.19 | -117.4306 | 698.88 | 854.4606 | 775.9431 | 777.3975
83.09 | 686.1577 | 560.807 | 0.81732 | 83.09 | -169.6435 | 698.73 | 855.8035 | 776.4053 | 778.1283
82.99 | 666.7801 | 544.934 | 0.81726 | 82.99 | -190.4978 | 698.68 | 857.2778 | 776.9777 | 778.9801
82.89 | 710.9577 | 581.001 | 0.81721 | 82.89 | -147.9645 | 698.77 | 858.9245 | 777.7008 | 779.9937
82.79 | 707.1673 | 577.866 | 0.81716 | 82.79 | -153.3748 | 698.8 | 860.5448 | 778.3748 | 780.97
82.69 | 680.3022 | 555.877 | 0.8171 | 82.69 | -181.8297 | 698.76 | 862.1297 | 778.99 | 781.8997
82.59 | 718.1164 | 586.737 | 0.81705 | 82.59 | -145.6905 | 698.78 | 863.8105 | 779.6766 | 782.9138
82.49 | 725.2447 | 592.522 | 0.817 | 82.49 | -140.2683 | 698.78 | 865.5083 | 780.3551 | 783.9333
82.39 | 723.8681 | 591.359 | 0.81694 | 82.39 | -143.2846 | 698.69 | 867.1546 | 780.9556 | 784.889
82.29 | 721.4166 | 589.318 | 0.81689 | 82.29 | -147.4207 | 698.6 | 868.8407 | 781.5686 | 785.8722
82.19 | 725.8523 | 592.903 | 0.81684 | 82.19 | -144.7081 | 698.5 | 870.5581 | 782.1843 | 786.8738
82.09 | 737.6063 | 602.465 | 0.81678 | 82.09 | -134.7182 | 698.41 | 872.3282 | 782.8232 | 787.915
81.99 | 733.0614 | 598.714 | 0.81673 | 81.99 | -141.0427 | 698.28 | 874.1027 | 783.4357 | 788.9471
81.89 | 733.0196 | 598.641 | 0.81668 | 81.89 | -142.8933 | 698.14 | 875.9133 | 784.052 | 790.0013
81.79 | 797.3354 | 651.124 | 0.81663 | 81.79 | -80.4417 | 698.01 | 877.7817 | 784.6926 | 791.0991
81.69 | 721.4857 | 589.145 | 0.81657 | 81.69 | -158.0797 | 697.75 | 879.5697 | 785.2179 | 792.1018
81.59 | 727.863 | 594.314 | 0.81652 | 81.59 | -153.5794 | 697.52 | 881.4394 | 785.7884 | 793.171
81.49 | 737.6217 | 602.243 | 0.81647 | 81.49 | -145.8729 | 697.42 | 883.4929 | 786.5045 | 794.4084
81.39 | 742.6021 | 606.27 | 0.81641 | 81.39 | -142.9622 | 697.28 | 885.5622 | 787.1966 | 795.6456
81.29 | 745.3207 | 608.45 | 0.81636 | 81.29 | -142.3498 | 697.12 | 887.6698 | 787.8853 | 796.9045
81.19 | 723.8894 | 590.916 | 0.81631 | 81.19 | -165.9281 | 696.94 | 889.8181 | 788.571 | 798.1871
81.09 | 806.0273 | 657.923 | 0.81625 | 81.09 | -86.0396 | 696.8 | 892.0696 | 789.3143 | 799.5553
80.99 | 784.8312 | 640.58 | 0.8162 | 80.99 | -109.4372 | 696.54 | 894.2672 | 789.9558 | 800.8515
80.89 | 716.7695 | 584.99 | 0.81615 | 80.89 | -179.6437 | 696.16 | 896.4137 | 790.4959 | 802.0779
80.79 | 766.6902 | 625.692 | 0.8161 | 80.79 | -132.1123 | 695.95 | 898.8023 | 791.2253 | 803.527
80.69 | 763.5759 | 623.11 | 0.81604 | 80.69 | -137.7262 | 695.78 | 901.3062 | 792.0147 | 805.0715
80.59 | 778.2764 | 635.065 | 0.81599 | 80.59 | -125.519 | 695.52 | 903.799 | 792.7346 | 806.5843
80.49 | 737.6571 | 601.881 | 0.81594 | 80.49 | -168.6843 | 695.23 | 906.3443 | 793.4458 | 808.1285
80.39 | 773.5668 | 631.14 | 0.81588 | 80.39 | -135.4561 | 694.99 | 909.0261 | 794.2289 | 809.7872
80.29 | 782.777 | 638.613 | 0.81583 | 80.29 | -129.0288 | 694.76 | 911.8088 | 795.0447 | 811.524
80.19 | 744.9193 | 607.688 | 0.81578 | 80.19 | -169.6768 | 694.44 | 914.5968 | 795.794 | 813.2427
80.09 | 800.4619 | 652.956 | 0.81572 | 80.09 | -117.085 | 694.18 | 917.545 | 796.6276 | 815.0974
79.99 | 772.5872 | 630.177 | 0.81567 | 79.99 | -147.9686 | 693.88 | 920.5586 | 797.4463 | 816.9923
79.89 | 745.4911 | 608.036 | 0.81562 | 79.89 | -178.1432 | 693.53 | 923.6332 | 798.2411 | 818.9222
79.79 | 829.1013 | 676.186 | 0.81556 | 79.79 | -97.8249 | 693.28 | 926.9249 | 799.1627 | 821.0421
79.69 | 822.0124 | 670.361 | 0.81551 | 79.69 | -108.22 | 692.92 | 930.23 | 800.0024 | 823.1476
79.59 | 746.1148 | 608.426 | 0.81546 | 79.59 | -187.4056 | 692.41 | 933.5156 | 800.7209 | 825.2047
79.49 | 716.3904 | 584.149 | 0.81541 | 79.49 | -220.7192 | 692.07 | 937.1092 | 801.6395 | 827.5397
79.39 | 807.8317 | 658.668 | 0.81535 | 79.39 | -133.2089 | 691.92 | 941.0389 | 802.7792 | 830.1797
79.29 | 791.6154 | 645.404 | 0.8153 | 79.29 | -153.3836 | 691.65 | 945.0036 | 803.8313 | 832.8222
79.19 | 836.3835 | 681.86 | 0.81525 | 79.19 | -112.6128 | 691.24 | 948.9928 | 804.777 | 835.4558
79.09 | 768.318 | 626.329 | 0.8152 | 79.09 | -184.7769 | 690.77 | 953.0969 | 805.6976 | 838.1693
78.99 | 847.4106 | 690.76 | 0.81514 | 78.99 | -110.0273 | 690.35 | 957.4373 | 806.7044 | 841.0829
78.89 | 786.9779 | 641.457 | 0.81509 | 78.89 | -174.9664 | 689.9 | 961.9464 | 807.7191 | 844.1273
78.79 | 829.7842 | 676.304 | 0.81504 | 78.79 | -136.8477 | 689.41 | 966.6277 | 808.7329 | 847.3047
78.69 | 883.6307 | 720.144 | 0.81498 | 78.69 | -87.9461 | 688.96 | 971.5761 | 809.8278 | 850.7083
78.59 | 828.6074 | 675.257 | 0.81493 | 78.59 | -147.9678 | 688.32 | 976.5778 | 810.7752 | 854.1227
78.49 | 922.2742 | 751.54 | 0.81488 | 78.49 | -59.5711 | 687.68 | 981.8411 | 811.767 | 857.754
78.39 | 832.0474 | 677.973 | 0.81483 | 78.39 | -155.2556 | 686.96 | 987.3056 | 812.7252 | 861.5404
78.29 | 953.3968 | 776.801 | 0.81477 | 78.29 | -39.6734 | 686.24 | 993.0734 | 813.7318 | 865.5817
78.19 | 904.9046 | 737.243 | 0.81472 | 78.19 | -94.1992 | 685.45 | 999.0992 | 814.7189 | 869.8303
78.09 | 875.959 | 713.614 | 0.81467 | 78.09 | -129.3901 | 684.53 | 1005.3501 | 815.6288 | 874.2513
77.99 | 890.1933 | 725.163 | 0.81461 | 77.99 | -121.9267 | 683.74 | 1012.1167 | 816.7239 | 879.1328
77.89 | 942.5248 | 767.743 | 0.81456 | 77.89 | -76.8134 | 682.98 | 1019.3334 | 817.9068 | 884.4066
77.79 | 941.2013 | 766.616 | 0.81451 | 77.79 | -85.6786 | 682.09 | 1026.8786 | 819.0202 | 889.9485
77.69 | 972.8321 | 792.328 | 0.81446 | 77.69 | -61.9963 | 681.1 | 1034.8263 | 820.097 | 895.8293
77.59 | 997.3834 | 812.271 | 0.8144 | 77.59 | -45.8758 | 680.04 | 1043.2558 | 821.1703 | 902.1255
77.49 | 979.0716 | 797.306 | 0.81435 | 77.49 | -73.124 | 678.88 | 1052.194 | 822.2134 | 908.8605
77.39 | 985.2646 | 802.297 | 0.8143 | 77.39 | -76.5256 | 677.7 | 1061.7856 | 823.3099 | 916.1757
77.29 | 969.8825 | 789.721 | 0.81424 | 77.29 | -102.2654 | 676.54 | 1072.1454 | 824.5035 | 924.182
77.19 | 1030.3946 | 838.938 | 0.81419 | 77.19 | -52.9601 | 675.39 | 1083.3501 | 825.7881 | 932.952
77.09 | 968.6429 | 788.609 | 0.81414 | 77.09 | -126.7606 | 674.15 | 1095.4006 | 827.0683 | 942.4824
76.99 | 1042.2609 | 848.489 | 0.81408 | 76.99 | -66.2453 | 672.91 | 1108.5053 | 828.4384 | 952.9769
76.89 | 1033.6854 | 841.454 | 0.81403 | 76.89 | -89.0839 | 671.64 | 1122.7739 | 829.8736 | 964.5403
76.79 | 1084.6802 | 882.908 | 0.81398 | 76.79 | -53.5927 | 670.24 | 1138.2727 | 831.2792 | 977.2335
76.69 | 1117.8066 | 909.813 | 0.81393 | 76.69 | -37.4212 | 668.74 | 1155.2312 | 832.6908 | 991.2804
76.59 | 1119.5996 | 911.213 | 0.81387 | 76.59 | -54.2408 | 667.09 | 1173.8408 | 834.0647 | 1006.866
76.49 | 1162.828 | 946.335 | 0.81382 | 76.49 | -31.6362 | 665.36 | 1194.4662 | 835.4777 | 1024.3486
76.39 | 1083.2693 | 881.531 | 0.81377 | 76.39 | -134.2017 | 663.55 | 1217.4717 | 836.9368 | 1044.0849
76.29 | 1289.3688 | 1049.18 | 0.81372 | 76.29 | 45.9376 | 661.78 | 1243.4324 | 838.5699 | 1066.6424
76.19 | 1344.8917 | 1094.29 | 0.81366 | 76.19 | 72.2757 | 659.74 | 1272.6143 | 840.0756 | 1092.2786
76.09 | 1283.4389 | 1044.22 | 0.81361 | 76.09 | -22.1176 | 657.23 | 1305.5576 | 841.263 | 1121.5246
75.99 | 1494.0299 | 1215.48 | 0.81356 | 75.99 | 150.3608 | 654.69 | 1343.6692 | 842.5822 | 1155.7771
75.89 | 1483.8016 | 1207.08 | 0.81351 | 75.89 | 95.8353 | 651.85 | 1387.9647 | 843.774 | 1196.0407
75.79 | 1506.1227 | 1225.16 | 0.81345 | 75.79 | 65.9908 | 648.65 | 1440.1292 | 844.7905 | 1243.9887
75.69 | 1603.9956 | 1304.69 | 0.8134 | 75.69 | 101.1259 | 645.38 | 1502.8741 | 845.9347 | 1302.3194
75.59 | 1853.9688 | 1507.92 | 0.81335 | 75.59 | 274.5449 | 641.83 | 1579.4251 | 847.0109 | 1374.2441
75.49 | 1910.8565 | 1554.09 | 0.81329 | 75.49 | 236.521 | 637.59 | 1674.339 | 847.625 | 1464.304
75.39 | 1998.458 | 1625.23 | 0.81324 | 75.39 | 203.4985 | 632.77 | 1794.9615 | 847.9041 | 1579.8274
75.29 | 2206.0185 | 1793.91 | 0.81319 | 75.29 | 254.0896 | 627.62 | 1951.9304 | 848.1176 | 1731.4328
75.19 | 2456.1913 | 1997.22 | 0.81314 | 75.19 | 297.3176 | 621.81 | 2158.8724 | 847.9565 | 1932.7259
75.09 | 2556.7838 | 2078.88 | 0.81308 | 75.09 | 124.9622 | 615.12 | 2431.8178 | 847.2245 | 2199.7133
74.99 | 2897.0938 | 2355.43 | 0.81303 | 74.99 | 112.9218 | 607.67 | 2784.1682 | 846.0676 | 2545.7706
74.89 | 3191.2386 | 2594.41 | 0.81298 | 74.89 | -23.7505 | 599.24 | 3214.9905 | 844.2952 | 2969.9352
74.79 | 3516.8146 | 2858.91 | 0.81293 | 74.79 | -177.6766 | 589.51 | 3694.4866 | 841.6199 | 3442.3767
74.69 | 4005.1226 | 3255.66 | 0.81287 | 74.69 | -149.5251 | 578.41 | 4154.6451 | 838.0084 | 3895.0467
74.59 | 4325.9832 | 3516.25 | 0.81282 | 74.59 | -171.0747 | 565.6 | 4497.0547 | 833.1621 | 4229.4925
74.49 | 4603.9896 | 3741.98 | 0.81277 | 74.49 | -21.8833 | 551.19 | 4625.8733 | 827.2379 | 4349.8254
74.39 | 4649.5455 | 3778.76 | 0.81272 | 74.39 | 158.3013 | 535.65 | 4491.2487 | 820.7587 | 4206.14
74.29 | 4438.1619 | 3606.73 | 0.81266 | 74.29 | 321.5683 | 519.71 | 4116.5917 | 814.5152 | 3821.7865
74.19 | 3647.7232 | 2964.18 | 0.81261 | 74.19 | 57.9998 | 504.68 | 3589.7202 | 809.8867 | 3284.5135
74.09 | 3115.3961 | 2531.44 | 0.81256 | 74.09 | 92.9958 | 491.89 | 3022.4042 | 808.2828 | 2706.0113
73.99 | 2367.0594 | 1923.25 | 0.81251 | 73.99 | -138.8038 | 481.71 | 2505.8638 | 810.1658 | 2177.4081
73.89 | 1981.8377 | 1610.15 | 0.81245 | 73.89 | -106.5732 | 473.93 | 2088.4132 | 815.4327 | 1746.9105
73.79 | 1705.7238 | 1385.73 | 0.8124 | 73.79 | -72.5232 | 467.94 | 1778.2432 | 823.5992 | 1422.5839
73.69 | 1406.6262 | 1142.67 | 0.81235 | 73.69 | -153.4229 | 463.16 | 1560.0529 | 834.2319 | 1188.981
73.59 | 1246.3083 | 1012.37 | 0.81229 | 73.59 | -165.1734 | 459.38 | 1411.4834 | 847.2948 | 1023.5686
73.49 | 1221.7243 | 992.337 | 0.81224 | 73.49 | -90.3135 | 456.22 | 1312.0335 | 862.6156 | 905.638
73.39 | 1125.941 | 914.478 | 0.81219 | 73.39 | -120.5035 | 453.35 | 1246.4435 | 880.1135 | 819.6801
73.29 | 1129.3561 | 917.193 | 0.81214 | 73.29 | -75.2795 | 450.68 | 1204.6395 | 900.0007 | 755.3188
73.19 | 1153.4051 | 936.663 | 0.81208 | 73.19 | -26.7424 | 448.07 | 1180.1524 | 922.5069 | 705.7155
73.09 | 1167.1435 | 947.759 | 0.81203 | 73.09 | -1.8134 | 445.38 | 1168.9534 | 947.9489 | 666.3845
72.99 | 1175.2482 | 954.278 | 0.81198 | 72.99 | 6.4915 | 442.62 | 1168.7585 | 976.9076 | 634.4709
72.89 | 1153.2907 | 936.389 | 0.81193 | 72.89 | -25.1135 | 439.84 | 1178.4035 | 1010.1559 | 608.0876
72.79 | 1272.388 | 1033.02 | 0.81188 | 72.79 | 74.9779 | 436.98 | 1197.4121 | 1048.562 | 585.8301
72.69 | 1390.0197 | 1128.45 | 0.81182 | 72.69 | 164.2525 | 433.77 | 1225.7675 | 1093.0664 | 566.4711
72.59 | 1423.9748 | 1155.94 | 0.81177 | 72.59 | 159.6199 | 430.18 | 1264.3501 | 1145.2463 | 549.2837
72.49 | 1460.3471 | 1185.39 | 0.81172 | 72.49 | 145.3817 | 426.36 | 1314.9683 | 1207.4282 | 533.9
72.39 | 1563.5145 | 1269.05 | 0.81166 | 72.39 | 183.2583 | 422.32 | 1380.2517 | 1282.6333 | 519.9385
72.29 | 1691.4835 | 1372.83 | 0.81161 | 72.29 | 227.4906 | 417.89 | 1463.9894 | 1374.9512 | 506.9282
72.19 | 1976.1694 | 1603.78 | 0.81156 | 72.19 | 404.3468 | 412.8 | 1571.8232 | 1490.2582 | 494.3649
72.09 | 2039.9922 | 1655.47 | 0.81151 | 72.09 | 327.5618 | 406.95 | 1712.4282 | 1637.4144 | 481.9638
71.99 | 2297.5519 | 1864.36 | 0.81146 | 71.99 | 398.8958 | 400.42 | 1898.6542 | 1829.4169 | 469.6573
71.89 | 2497.6738 | 2026.62 | 0.8114 | 71.89 | 349.7378 | 393.07 | 2147.9322 | 2083.8156 | 457.1866
71.79 | 2820.1851 | 2288.16 | 0.81135 | 71.79 | 338.8137 | 384.71 | 2481.3763 | 2421.8215 | 444.2648
71.69 | 3060.1456 | 2482.69 | 0.8113 | 71.69 | 141.9969 | 375.21 | 2918.1531 | 2862.6804 | 430.6827
71.59 | 3342.3277 | 2711.45 | 0.81125 | 71.59 | -120.0803 | 364.59 | 3462.4103 | 3410.6058 | 416.3944
71.49 | 3837.1263 | 3112.65 | 0.81119 | 71.49 | -246.3429 | 352.54 | 4083.4729 | 4034.9775 | 401.0354
71.39 | 4352.9177 | 3530.83 | 0.81114 | 71.39 | -347.4126 | 338.52 | 4700.3326 | 4654.833 | 384.0196
71.29 | 4791.4224 | 3886.27 | 0.81109 | 71.29 | -396.0364 | 322.43 | 5187.4564 | 5144.678 | 365.2083
71.19 | 5438.8954 | 4411.14 | 0.81104 | 71.19 | 27.5626 | 304.07 | 5411.3374 | 5371.0387 | 344.3687
71.09 | 5466.7293 | 4433.43 | 0.81098 | 71.09 | 177.7828 | 283.99 | 5288.9472 | 5250.9145 | 322.0227
70.99 | 5120.152 | 4152.09 | 0.81093 | 70.99 | 288.1006 | 264.03 | 4832.0494 | 4796.0933 | 299.9861
70.89 | 4454.0184 | 3611.67 | 0.81088 | 70.89 | 310.0727 | 245.88 | 4143.9473 | 4109.899 | 279.9282
70.79 | 3482.9625 | 2824.08 | 0.81083 | 70.79 | 111.0107 | 230.89 | 3371.9493 | 3339.6582 | 263.1811
70.69 | 2585.8377 | 2096.53 | 0.81077 | 70.69 | -60.8084 | 219.64 | 2646.6484 | 2615.9793 | 250.3091
70.59 | 1816.3193 | 1472.53 | 0.81072 | 70.59 | -228.0334 | 211.74 | 2044.3534 | 2015.1849 | 240.9085
70.49 | 1361.4171 | 1103.66 | 0.81067 | 70.49 | -223.5919 | 206.3 | 1585.0119 | 1557.2344 | 234.0775
70.39 | 1007.0958 | 816.369 | 0.81062 | 70.39 | -245.2402 | 202.47 | 1252.3402 | 1225.8547 | 228.9554
70.29 | 813.3561 | 659.278 | 0.81056 | 70.29 | -203.3101 | 199.72 | 1016.6701 | 991.3869 | 225.0032
70.19 | 657.5054 | 532.916 | 0.81051 | 70.19 | -191.8268 | 197.64 | 849.3368 | 825.1744 | 221.8024
70.09 | 569.1595 | 461.281 | 0.81046 | 70.09 | -159.2542 | 196.04 | 728.4142 | 705.2983 | 219.1559
69.99 | 494.409 | 400.673 | 0.81041 | 69.99 | -144.3792 | 194.75 | 638.7892 | 616.652 | 216.8872
69.89 | 505.9492 | 409.999 | 0.81036 | 69.89 | -64.5434 | 193.58 | 570.4934 | 549.2729 | 214.8005
69.79 | 392.5865 | 318.114 | 0.8103 | 69.79 | -124.6701 | 192.6 | 517.2601 | 496.8994 | 212.9606
69.69 | 419.7341 | 340.09 | 0.81025 | 69.69 | -55.1677 | 191.78 | 474.8977 | 455.3447 | 211.3329
69.59 | 357.5257 | 289.667 | 0.8102 | 69.59 | -82.9771 | 191.02 | 440.5071 | 421.7138 | 209.8132
69.49 | 353.9029 | 286.713 | 0.81015 | 69.49 | -58.3244 | 190.39 | 412.2244 | 394.1467 | 208.4677
69.39 | 325.3993 | 263.604 | 0.81009 | 69.39 | -63.2092 | 189.82 | 388.6092 | 371.2061 | 207.2231
69.29 | 337.406 | 273.313 | 0.81004 | 69.29 | -31.2269 | 189.28 | 368.6369 | 351.8707 | 206.0462
69.19 | 343.1256 | 277.928 | 0.80999 | 69.19 | -8.3812 | 188.71 | 351.5112 | 335.3469 | 204.8742
69.09 | 249.3342 | 201.945 | 0.80994 | 69.09 | -87.5267 | 188.29 | 336.8567 | 321.262 | 203.8847
68.99 | 326.2698 | 264.241 | 0.80988 | 68.99 | 2.1323 | 187.91 | 324.1377 | 309.0824 | 202.9654
68.89 | 274.4838 | 222.286 | 0.80983 | 68.89 | -38.4532 | 187.48 | 312.9332 | 298.3892 | 202.024
68.79 | 258.8259 | 209.592 | 0.80978 | 68.79 | -44.3323 | 187.18 | 303.1623 | 289.1036 | 201.2387
68.69 | 268.3111 | 217.259 | 0.80973 | 68.69 | -26.1873 | 186.89 | 294.4973 | 280.8995 | 200.4877
68.59 | 249.4578 | 201.98 | 0.80968 | 68.59 | -37.3106 | 186.61 | 286.7706 | 273.6111 | 199.7695
68.49 | 292.6198 | 236.912 | 0.80962 | 68.49 | 12.8239 | 186.29 | 279.7961 | 267.0536 | 199.0325
68.39 | 264.2211 | 213.906 | 0.80957 | 68.39 | -9.2522 | 185.94 | 273.4722 | 261.1268 | 198.2853
68.29 | 227.9366 | 184.519 | 0.80952 | 68.29 | -39.9163 | 185.71 | 267.8563 | 255.8896 | 197.6768
68.19 | 253.7312 | 205.387 | 0.80947 | 68.19 | -9.0417 | 185.5 | 262.7717 | 251.166 | 197.1057
68.09 | 227.2493 | 183.939 | 0.80941 | 68.09 | -30.8836 | 185.29 | 258.1336 | 246.8726 | 196.551
67.99 | 213.1775 | 172.538 | 0.80936 | 67.99 | -40.7875 | 185.16 | 253.9675 | 243.0358 | 196.0917
67.89 | 225.7565 | 182.707 | 0.80931 | 67.89 | -24.3872 | 185.03 | 250.1472 | 239.5303 | 195.6469
67.79 | 246.4097 | 199.409 | 0.80926 | 67.79 | -0.15297 | 184.83 | 246.563 | 236.2472 | 195.1458
67.69 | 254.4927 | 205.937 | 0.80921 | 67.69 | 11.2891 | 184.58 | 243.2009 | 233.1734 | 194.6075
67.59 | 209.4916 | 169.511 | 0.80915 | 67.59 | -30.6617 | 184.4 | 240.1517 | 230.4003 | 194.1514
67.49 | 207.4065 | 167.813 | 0.8091 | 67.49 | -30 | 184.31 | 237.41 | 227.9233 | 193.7967
67.39 | 193.3787 | 156.453 | 0.80905 | 67.39 | -41.5136 | 184.25 | 234.8936 | 225.6608 | 193.4828
67.29 | 230.0565 | 186.115 | 0.809 | 67.29 | -2.4433 | 184.14 | 232.5033 | 223.5141 | 193.1292
67.19 | 220.3796 | 178.275 | 0.80895 | 67.19 | -9.8421 | 183.98 | 230.2221 | 221.4668 | 192.7353
67.09 | 194.0405 | 156.958 | 0.80889 | 67.09 | -34.125 | 183.9 | 228.165 | 219.6345 | 192.4305
66.99 | 206.9133 | 167.36 | 0.80884 | 66.99 | -19.339 | 183.83 | 226.249 | 217.9345 | 192.1445
66.89 | 188.5819 | 152.523 | 0.80879 | 66.89 | -35.8923 | 183.78 | 224.4723 | 216.3656 | 191.8866
66.79 | 205.1211 | 165.889 | 0.80874 | 66.79 | -17.6845 | 183.73 | 222.8045 | 214.8978 | 191.6367
66.69 | 207.5777 | 167.865 | 0.80868 | 66.69 | -13.6164 | 183.64 | 221.1964 | 213.4823 | 191.3541
66.59 | 172.6989 | 139.65 | 0.80863 | 66.59 | -47.0497 | 183.62 | 219.7497 | 212.221 | 191.1487
66.49 | 203.1673 | 164.277 | 0.80858 | 66.49 | -15.217 | 183.6 | 218.387 | 211.0371 | 190.95
66.39 | 179.3506 | 145.01 | 0.80853 | 66.39 | -37.7417 | 183.57 | 217.0917 | 209.9141 | 190.7476
66.29 | 213.3063 | 172.453 | 0.80848 | 66.29 | -2.5376 | 183.52 | 215.8476 | 208.8362 | 190.5314
66.19 | 180.5562 | 145.966 | 0.80842 | 66.19 | -34.1095 | 183.47 | 214.6695 | 207.8185 | 190.321
66.09 | 199.1682 | 161.002 | 0.80837 | 66.09 | -14.4124 | 183.45 | 213.5824 | 206.8862 | 190.1461
65.99 | 168.6745 | 136.343 | 0.80832 | 65.99 | -43.9017 | 183.45 | 212.5717 | 206.0252 | 189.9965
65.89 | 167.0399 | 135.013 | 0.80827 | 65.89 | -28.1636 | 167.04 | 195.2036 | 188.8016 | 173.442
65.79 | 185.9676 | 150.302 | 0.80822 | 65.79 | -27.2543 | 185.97 | 213.2243 | 206.962 | 192.2323
65.69 | 195.3985 | 157.914 | 0.80816 | 65.69 | -26.3905 | 195.4 | 221.7905 | 215.6633 | 201.5272
65.59 | 185.1229 | 149.6 | 0.80811 | 65.59 | -25.569 | 185.12 | 210.689 | 204.6926 | 191.1165
65.49 | 183.0681 | 147.93 | 0.80806 | 65.49 | -24.7871 | 183.07 | 207.8571 | 201.9872 | 188.94
65.39 | 169.476 | 136.938 | 0.80801 | 65.39 | -24.0422 | 169.48 | 193.5222 | 187.7747 | 175.2275
65.29 | 167.8482 | 135.614 | 0.80796 | 65.29 | -23.332 | 167.85 | 191.182 | 185.5531 | 173.4789
65.19 | 180.9324 | 146.176 | 0.8079 | 65.19 | -22.6542 | 180.93 | 203.5842 | 198.0702 | 186.444
65.09 | 172.4809 | 139.339 | 0.80785 | 65.09 | -22.0069 | 172.48 | 194.4869 | 189.0842 | 177.8826
64.99 | 153.5789 | 124.061 | 0.8078 | 64.99 | -21.3881 | 153.58 | 174.9681 | 169.6734 | 158.8747
64.89 | 153.3721 | 123.886 | 0.80775 | 64.89 | -20.7963 | 153.37 | 174.1663 | 168.9763 | 158.56
64.79 | 157.6534 | 127.336 | 0.8077 | 64.79 | -20.2297 | 157.65 | 177.8797 | 172.7913 | 162.7384
64.69 | 135.6241 | 109.536 | 0.80764 | 64.69 | -19.6871 | 135.62 | 155.3071 | 150.3172 | 140.6099
64.59 | 144.8046 | 116.943 | 0.80759 | 64.59 | -19.1669 | 144.8 | 163.9669 | 159.0727 | 149.6942
64.49 | 145.6547 | 117.622 | 0.80754 | 64.49 | -18.668 | 145.65 | 164.318 | 159.5167 | 150.4513
64.39 | 161.3473 | 130.286 | 0.80749 | 64.39 | -18.1891 | 161.35 | 179.5391 | 174.828 | 166.0611
64.29 | 174.9464 | 141.258 | 0.80744 | 64.29 | -17.7292 | 174.95 | 192.6792 | 188.0558 | 179.5734
64.19 | 187.4238 | 151.323 | 0.80738 | 64.19 | -17.2872 | 187.42 | 204.7072 | 200.169 | 191.9582
64.09 | 160.805 | 129.823 | 0.80733 | 64.09 | -16.8623 | 160.8 | 177.6623 | 173.2069 | 165.2554
63.99 | 169.6103 | 136.923 | 0.80728 | 63.99 | -16.4535 | 169.61 | 186.0635 | 181.6886 | 173.9849
63.89 | 162.2367 | 130.962 | 0.80723 | 63.89 | -16.0599 | 162.24 | 178.2999 | 174.0034 | 166.5365
63.79 | 158.4933 | 127.932 | 0.80718 | 63.79 | -15.6809 | 158.49 | 174.1709 | 169.9506 | 162.7103
63.69 | 155.4792 | 125.491 | 0.80712 | 63.69 | -15.3157 | 155.48 | 170.7957 | 166.6496 | 159.6261
63.59 | 162.7476 | 131.349 | 0.80707 | 63.59 | -14.9637 | 162.75 | 177.7137 | 173.6397 | 166.824
63.49 | 142.4277 | 114.942 | 0.80702 | 63.49 | -14.624 | 142.43 | 157.054 | 153.0504 | 146.4337
63.39 | 172.821 | 139.461 | 0.80697 | 63.39 | -14.2963 | 172.82 | 187.1163 | 183.1811 | 176.7552
63.29 | 128.9837 | 104.079 | 0.80692 | 63.29 | -13.9799 | 128.98 | 142.9599 | 139.0914 | 132.8485
63.19 | 186.6771 | 150.623 | 0.80686 | 63.19 | -13.6743 | 186.68 | 200.3543 | 196.5507 | 190.4836
63.09 | 147.1743 | 118.742 | 0.80681 | 63.09 | -13.379 | 147.17 | 160.549 | 156.8087 | 150.9103
62.99 | 131.4813 | 106.074 | 0.80676 | 62.99 | -13.0935 | 131.48 | 144.5735 | 140.895 | 135.1585
62.89 | 163.4976 | 131.895 | 0.80671 | 62.89 | -12.8174 | 163.5 | 176.3174 | 172.699 | 167.1184
62.79 | 142.5637 | 115 | 0.80666 | 62.79 | -12.5503 | 142.56 | 155.1103 | 151.5506 | 146.1197
62.69 | 137.8754 | 111.211 | 0.80661 | 62.69 | -12.2917 | 137.88 | 150.1717 | 146.6693 | 141.3824
62.59 | 133.5622 | 107.725 | 0.80655 | 62.59 | -12.0414 | 133.56 | 145.6014 | 142.1548 | 137.0066
62.49 | 148.2912 | 119.597 | 0.8065 | 62.49 | -11.7988 | 148.29 | 160.0888 | 156.6968 | 151.6821
62.39 | 154.0494 | 124.233 | 0.80645 | 62.39 | -11.5639 | 154.05 | 165.6139 | 162.275 | 157.3889
62.29 | 160.5971 | 129.505 | 0.8064 | 62.29 | -11.3361 | 160.6 | 171.9361 | 168.6491 | 163.887
62.19 | 128.2886 | 103.445 | 0.80635 | 62.19 | -11.1152 | 128.29 | 139.4052 | 136.1689 | 131.5263
62.09 | 149.2793 | 120.363 | 0.80629 | 62.09 | -10.9009 | 149.28 | 160.1809 | 156.9942 | 152.4667
61.99 | 168.7335 | 136.04 | 0.80624 | 61.99 | -10.693 | 168.73 | 179.423 | 176.2847 | 171.8684

## Pt4f1
BE | Raw Data | Background | Transmission | BE_new | Residuals | Background_new | Calculated Fit | ID | Peak Label | Position (eV) | Height (CPS) | FWHM (eV) | σ/γ (%) L/G | Area (CPS.eV) | σ W_g | γ W_l | W_g Skew | Conc. (%) | A/Aᴀ | Split (eV) | Fitting Model | Bkg Type | Bkg Low (eV) | Bkg High (eV) | Bkg Offset Low (CPS) | Bkg Offset High (CPS)
89.99 | 663.06 | 663.06 | 1 | 89.99 | -27.7151 | 663.06 | 690.7751 | A | Pt4f7/2 p1 | 71.08 | 5111 | 1.02 | 29.72 | 7939 | 0.85 | 2.01 | 0.1 | 57.4 | 100.0 | 0.00 | LA (Area, σ, γ) | Multi-Regions Smart | 61.99 | 89.99 | 0.0 | 0.0
89.89 | 719.31 | 719.31 | 1 | 89.89 | -27.9931 | 719.31 | 747.3031 |  |  | 61.99,89.99 | 1:1e7 | 0.3:3.5 | Fixed | 1:1e7 | 0.01:10 | 0.01:10 | 0.01:2
89.79 | 655.63 | 655.63 | 1 | 89.79 | -28.2757 | 655.63 | 683.9057 | B | Pt4f5/2_p2 | 74.40 | 3824 | 1.02 | 29.72 | 5903 | 0.85 | 2.01 | 0.1 | 42.6 | 74.4 | 3.32 | LA (Area, σ, γ) | Multi-Regions Smart | 61.99 | 89.99 | 0.0 | 0.0
89.69 | 696.19 | 696.19 | 1 | 89.69 | -28.5629 | 696.19 | 724.7529 |  |  | A+3.3#0.2 | A*0.75#0.05 | A*1 | A*1 | A*0.75#0.05 | A*1 | A*1 | A*1
89.59 | 727.96 | 727.96 | 1 | 89.59 | -28.8548 | 727.96 | 756.8148
89.49 | 719.08 | 719.08 | 1 | 89.49 | -29.1515 | 719.08 | 748.2315
89.39 | 687.28 | 687.28 | 1 | 89.39 | -29.4531 | 687.28 | 716.7331
89.29 | 702.46 | 702.46 | 1 | 89.29 | -29.7597 | 702.46 | 732.2197
89.19 | 713.19 | 713.19 | 1 | 89.19 | -30.0715 | 713.19 | 743.2615
89.09 | 682.78 | 682.78 | 1 | 89.09 | -30.3886 | 682.78 | 713.1686
88.99 | 676.38 | 676.38 | 1 | 88.99 | -30.7111 | 676.38 | 707.0911
88.89 | 690.93 | 690.93 | 1 | 88.89 | -31.0391 | 690.93 | 721.9691
88.79 | 661.99 | 661.99 | 1 | 88.79 | -31.3727 | 661.99 | 693.3627
88.69 | 696.14 | 696.14 | 1 | 88.69 | -31.7121 | 696.14 | 727.8521
88.59 | 681.17 | 681.17 | 1 | 88.59 | -32.0575 | 681.17 | 713.2275
88.49 | 684.89 | 684.89 | 1 | 88.49 | -32.4089 | 684.89 | 717.2989
88.39 | 676.7 | 676.7 | 1 | 88.39 | -32.7666 | 676.7 | 709.4666
88.29 | 716.59 | 716.59 | 1 | 88.29 | -33.1306 | 716.59 | 749.7206
88.19 | 700.34 | 700.34 | 1 | 88.19 | -33.5012 | 700.34 | 733.8412
88.09 | 696.3 | 696.3 | 1 | 88.09 | -33.8785 | 696.3 | 730.1785
87.99 | 649.8 | 649.8 | 1 | 87.99 | -34.2627 | 649.8 | 684.0627
87.89 | 662.53 | 662.53 | 1 | 87.89 | -34.6538 | 662.53 | 697.1838
87.79 | 655.98 | 655.98 | 1 | 87.79 | -35.0523 | 655.98 | 691.0323
87.69 | 658.33 | 658.33 | 1 | 87.69 | -35.4581 | 658.33 | 693.7881
87.59 | 663.44 | 663.44 | 1 | 87.59 | -35.8715 | 663.44 | 699.3115
87.49 | 673.63 | 673.63 | 1 | 87.49 | -36.2927 | 673.63 | 709.9227
87.39 | 714.5 | 714.5 | 1 | 87.39 | -36.722 | 714.5 | 751.222
87.29 | 672.66 | 672.66 | 1 | 87.29 | -37.1594 | 672.66 | 709.8194
87.19 | 652.39 | 652.39 | 1 | 87.19 | -37.6053 | 652.39 | 689.9953
87.09 | 682 | 682 | 1 | 87.09 | -38.0598 | 682 | 720.0598
86.99 | 646.31 | 646.31 | 1 | 86.99 | -38.5233 | 646.31 | 684.8333
86.89 | 632.5 | 632.5 | 1 | 86.89 | -38.9959 | 632.5 | 671.4959
86.79 | 666.8 | 666.8 | 1 | 86.79 | -39.4779 | 666.8 | 706.2779
86.69 | 746.93 | 746.93 | 1 | 86.69 | -39.9695 | 746.93 | 786.8995
86.59 | 650.44 | 650.44 | 1 | 86.59 | -40.4711 | 650.44 | 690.9111
86.49 | 674.9 | 674.9 | 1 | 86.49 | -40.9829 | 674.9 | 715.8829
86.39 | 673.85 | 673.85 | 1 | 86.39 | -41.5051 | 673.85 | 715.3551
86.29 | 659.87 | 659.87 | 1 | 86.29 | -42.0382 | 659.87 | 701.9082
86.19 | 716.84 | 700.31 | 1 | 86.19 | -26.0524 | 700.31 | 742.8924
86.09 | 665.68 | 697.55 | 1 | 86.09 | -75.008 | 697.55 | 740.688
85.99 | 718.4 | 697.58 | 1 | 85.99 | -22.8854 | 697.58 | 741.2854
85.89 | 692.95 | 697.6 | 1 | 85.89 | -48.9349 | 697.6 | 741.8849
85.79 | 667.09 | 697.57 | 1 | 85.79 | -75.3569 | 697.57 | 742.4469
85.69 | 664.37 | 697.64 | 1 | 85.69 | -78.7518 | 697.64 | 743.1218
85.59 | 617.76 | 697.76 | 1 | 85.59 | -126.0999 | 697.76 | 743.8599
85.49 | 656.72 | 697.97 | 1 | 85.49 | -87.9817 | 697.97 | 744.7017
85.39 | 730.78 | 698.2 | 1 | 85.39 | -14.7976 | 698.2 | 745.5776
85.29 | 637.88 | 698.22 | 1 | 85.29 | -108.3779 | 698.22 | 746.2579
85.19 | 615.98 | 698.27 | 1 | 85.19 | -131.0033 | 698.27 | 746.9833
85.09 | 699.65 | 698.55 | 1 | 85.09 | -48.3041 | 698.55 | 747.9541
84.99 | 682.09 | 698.7 | 1 | 84.99 | -66.7209 | 698.7 | 748.8109
84.89 | 673.64 | 698.73 | 1 | 84.89 | -75.9241 | 698.73 | 749.5641
84.79 | 677.53 | 698.81 | 1 | 84.79 | -72.8544 | 698.81 | 750.3844
84.69 | 655.06 | 698.9 | 1 | 84.69 | -96.1722 | 698.9 | 751.2322
84.59 | 719.92 | 699.02 | 1 | 84.59 | -32.2082 | 699.02 | 752.1282
84.49 | 734.77 | 699.06 | 1 | 84.49 | -18.1929 | 699.06 | 752.9629
84.39 | 731.33 | 698.96 | 1 | 84.39 | -22.3471 | 698.96 | 753.6771
84.29 | 728.23 | 698.83 | 1 | 84.29 | -26.1514 | 698.83 | 754.3814
84.19 | 726.02 | 698.71 | 1 | 84.19 | -29.0964 | 698.71 | 755.1164
84.09 | 681.96 | 698.6 | 1 | 84.09 | -73.9229 | 698.6 | 755.8829
83.99 | 647.77 | 698.58 | 1 | 83.99 | -108.9916 | 698.58 | 756.7616
83.89 | 699.66 | 698.71 | 1 | 83.89 | -58.1535 | 698.71 | 757.8135
83.79 | 721.13 | 698.8 | 1 | 83.79 | -37.7192 | 698.8 | 758.8492
83.69 | 657.93 | 698.76 | 1 | 83.69 | -101.8497 | 698.76 | 759.7797
83.59 | 682.38 | 698.8 | 1 | 83.59 | -78.4358 | 698.8 | 760.8158
83.49 | 704.73 | 698.9 | 1 | 83.49 | -57.2086 | 698.9 | 761.9386
83.39 | 687.46 | 698.92 | 1 | 83.39 | -75.549 | 698.92 | 763.009
83.29 | 739.55 | 698.94 | 1 | 83.29 | -24.5582 | 698.94 | 764.1082
83.19 | 737.03 | 698.88 | 1 | 83.19 | -28.1271 | 698.88 | 765.1571
83.09 | 686.16 | 698.73 | 1 | 83.09 | -79.987 | 698.73 | 766.147
82.99 | 666.78 | 698.68 | 1 | 82.99 | -100.489 | 698.68 | 767.269
82.89 | 710.96 | 698.77 | 1 | 82.89 | -57.6046 | 698.77 | 768.5646
82.79 | 707.17 | 698.8 | 1 | 82.79 | -62.6649 | 698.8 | 769.8349
82.69 | 680.3 | 698.76 | 1 | 82.69 | -90.7715 | 698.76 | 771.0715
82.59 | 718.12 | 698.78 | 1 | 82.59 | -54.2859 | 698.78 | 772.4059
82.49 | 725.24 | 698.78 | 1 | 82.49 | -48.5195 | 698.78 | 773.7595
82.39 | 723.87 | 698.69 | 1 | 82.39 | -51.1942 | 698.69 | 775.0642
82.29 | 721.42 | 698.6 | 1 | 82.29 | -54.9916 | 698.6 | 776.4116
82.19 | 725.85 | 698.5 | 1 | 82.19 | -51.9436 | 698.5 | 777.7936
82.09 | 737.61 | 698.41 | 1 | 82.09 | -41.6221 | 698.41 | 779.2321
81.99 | 733.06 | 698.28 | 1 | 81.99 | -47.6193 | 698.28 | 780.6793
81.89 | 733.02 | 698.14 | 1 | 81.89 | -49.1474 | 698.14 | 782.1674
81.79 | 797.34 | 698.01 | 1 | 81.79 | 13.6214 | 698.01 | 783.7186
81.69 | 721.49 | 697.75 | 1 | 81.69 | -63.7055 | 697.75 | 785.1955
81.59 | 727.86 | 697.52 | 1 | 81.59 | -58.9006 | 697.52 | 786.7606
81.49 | 737.62 | 697.42 | 1 | 81.49 | -50.8968 | 697.42 | 788.5168
81.39 | 742.6 | 697.28 | 1 | 81.39 | -47.6969 | 697.28 | 790.2969
81.29 | 745.32 | 697.12 | 1 | 81.29 | -46.8042 | 697.12 | 792.1242
81.19 | 723.89 | 696.94 | 1 | 81.19 | -70.112 | 696.94 | 794.002
81.09 | 806.03 | 696.8 | 1 | 81.09 | 10.0362 | 696.8 | 795.9938
80.99 | 784.83 | 696.54 | 1 | 80.99 | -13.1134 | 696.54 | 797.9434
80.89 | 716.77 | 696.16 | 1 | 80.89 | -83.085 | 696.16 | 799.855
80.79 | 766.69 | 695.95 | 1 | 80.79 | -35.3328 | 695.95 | 802.0228
80.69 | 763.58 | 695.78 | 1 | 80.69 | -40.7414 | 695.78 | 804.3214
80.59 | 778.28 | 695.52 | 1 | 80.59 | -28.3459 | 695.52 | 806.6259
80.49 | 737.66 | 695.23 | 1 | 80.49 | -71.3416 | 695.23 | 809.0016
80.39 | 773.57 | 694.99 | 1 | 80.39 | -37.9642 | 694.99 | 811.5342
80.29 | 782.78 | 694.76 | 1 | 80.29 | -31.4097 | 694.76 | 814.1897
80.19 | 744.92 | 694.44 | 1 | 80.19 | -71.9549 | 694.44 | 816.8749
80.09 | 800.46 | 694.18 | 1 | 80.09 | -19.2869 | 694.18 | 819.7469
79.99 | 772.59 | 693.88 | 1 | 79.99 | -50.1232 | 693.88 | 822.7132
79.89 | 745.49 | 693.53 | 1 | 79.89 | -80.2822 | 693.53 | 825.7722
79.79 | 829.1 | 693.28 | 1 | 79.79 | 0.017095 | 693.28 | 829.0829
79.69 | 822.01 | 692.92 | 1 | 79.69 | -10.4349 | 692.92 | 832.4449
79.59 | 746.11 | 692.41 | 1 | 79.59 | -89.7188 | 692.41 | 835.8288
79.49 | 716.39 | 692.07 | 1 | 79.49 | -123.176 | 692.07 | 839.566
79.39 | 807.83 | 691.92 | 1 | 79.39 | -35.8589 | 691.92 | 843.6889
79.29 | 791.62 | 691.65 | 1 | 79.29 | -56.2811 | 691.65 | 847.9011
79.19 | 836.38 | 691.24 | 1 | 79.19 | -15.8173 | 691.24 | 852.1973
79.09 | 768.32 | 690.77 | 1 | 79.09 | -88.3538 | 690.77 | 856.6738
78.99 | 847.41 | 690.35 | 1 | 78.99 | -14.0482 | 690.35 | 861.4582
78.89 | 786.98 | 689.9 | 1 | 78.89 | -79.5099 | 689.9 | 866.4899
78.79 | 829.78 | 689.41 | 1 | 78.79 | -42.0004 | 689.41 | 871.7804
78.69 | 883.63 | 688.96 | 1 | 78.69 | 6.1967 | 688.96 | 877.4333
78.59 | 828.61 | 688.32 | 1 | 78.59 | -54.6344 | 688.32 | 883.2444
78.49 | 922.27 | 687.68 | 1 | 78.49 | 32.8373 | 687.68 | 889.4327
78.39 | 832.05 | 686.96 | 1 | 78.39 | -63.9001 | 686.96 | 895.9501
78.29 | 953.4 | 686.24 | 1 | 78.29 | 50.4879 | 686.24 | 902.9121
78.19 | 904.9 | 685.45 | 1 | 78.19 | -5.3884 | 685.45 | 910.2884
78.09 | 875.96 | 684.53 | 1 | 78.09 | -42.1033 | 684.53 | 918.0633
77.99 | 890.19 | 683.74 | 1 | 77.99 | -36.3565 | 683.74 | 926.5465
77.89 | 942.52 | 682.98 | 1 | 77.89 | 6.8262 | 682.98 | 935.6938
77.79 | 941.2 | 682.09 | 1 | 77.79 | -4.2083 | 682.09 | 945.4083
77.69 | 972.83 | 681.1 | 1 | 77.69 | 17.0388 | 681.1 | 955.7912
77.59 | 997.38 | 680.04 | 1 | 77.59 | 30.4264 | 680.04 | 966.9536
77.49 | 979.07 | 678.88 | 1 | 77.49 | 0.11241 | 678.88 | 978.9576
77.39 | 985.26 | 677.7 | 1 | 77.39 | -6.7287 | 677.7 | 991.9887
77.29 | 969.88 | 676.54 | 1 | 77.29 | -36.328 | 676.54 | 1006.208
77.19 | 1030.39 | 675.39 | 1 | 77.19 | 8.6449 | 675.39 | 1021.7451
77.09 | 968.64 | 674.15 | 1 | 77.09 | -70.0214 | 674.15 | 1038.6614
76.99 | 1042.26 | 672.91 | 1 | 76.99 | -14.9748 | 672.91 | 1057.2348
76.89 | 1033.69 | 671.64 | 1 | 76.89 | -43.9647 | 671.64 | 1077.6547
76.79 | 1084.68 | 670.24 | 1 | 76.79 | -15.3985 | 670.24 | 1100.0785
76.69 | 1117.81 | 668.74 | 1 | 76.69 | -7.0303 | 668.74 | 1124.8403
76.59 | 1119.6 | 667.09 | 1 | 76.59 | -32.6503 | 667.09 | 1152.2503
76.49 | 1162.83 | 665.36 | 1 | 76.49 | -19.9786 | 665.36 | 1182.8086
76.39 | 1083.27 | 663.55 | 1 | 76.39 | -133.7609 | 663.55 | 1217.0309
76.29 | 1289.37 | 661.78 | 1 | 76.29 | 33.7104 | 661.78 | 1255.6596
76.19 | 1344.89 | 659.74 | 1 | 76.19 | 45.7497 | 659.74 | 1299.1403
76.09 | 1283.44 | 657.23 | 1 | 76.09 | -64.756 | 657.23 | 1348.196
75.99 | 1494.03 | 654.69 | 1 | 75.99 | 89.6297 | 654.69 | 1404.4003
75.89 | 1483.8 | 651.85 | 1 | 75.89 | 14.9165 | 651.85 | 1468.8835
75.79 | 1506.12 | 648.65 | 1 | 75.79 | -37.2038 | 648.65 | 1543.3238
75.69 | 1604 | 645.38 | 1 | 75.69 | -26.1752 | 645.38 | 1630.1752
75.59 | 1853.97 | 641.83 | 1 | 75.59 | 122.0444 | 641.83 | 1731.9256
75.49 | 1910.86 | 637.59 | 1 | 75.49 | 59.3406 | 637.59 | 1851.5194
75.39 | 1998.46 | 632.77 | 1 | 75.39 | 5.2624 | 632.77 | 1993.1976
75.29 | 2206.02 | 627.62 | 1 | 75.29 | 43.8267 | 627.62 | 2162.1933
75.19 | 2456.19 | 621.81 | 1 | 75.19 | 92.2559 | 621.81 | 2363.9341
75.09 | 2556.78 | 615.12 | 1 | 75.09 | -47.4973 | 615.12 | 2604.2773
74.99 | 2897.09 | 607.67 | 1 | 74.99 | 8.6195 | 607.67 | 2888.4705
74.89 | 3191.24 | 599.24 | 1 | 74.89 | -26.4113 | 599.24 | 3217.6513
74.79 | 3516.81 | 589.51 | 1 | 74.79 | -67.0243 | 589.51 | 3583.8343
74.69 | 4005.12 | 578.41 | 1 | 74.69 | 42.5929 | 578.41 | 3962.5271
74.59 | 4325.98 | 565.6 | 1 | 74.59 | 20.5677 | 565.6 | 4305.4123
74.49 | 4603.99 | 551.19 | 1 | 74.49 | 59.2274 | 551.19 | 4544.7626
74.39 | 4649.55 | 535.65 | 1 | 74.39 | 33.2297 | 535.65 | 4616.3203
74.29 | 4438.16 | 519.71 | 1 | 74.29 | 86.1333 | 519.71 | 4352.0267
74.19 | 3647.72 | 504.68 | 1 | 74.19 | -123.9258 | 504.68 | 3771.6458
74.09 | 3115.4 | 491.89 | 1 | 74.09 | 21.1092 | 491.89 | 3094.2908
73.99 | 2367.06 | 481.71 | 1 | 73.99 | -118.7956 | 481.71 | 2485.8556
73.89 | 1981.84 | 473.93 | 1 | 73.89 | -30.9669 | 473.93 | 2012.8069
73.79 | 1705.72 | 467.94 | 1 | 73.79 | 31.2807 | 467.94 | 1674.4393
73.69 | 1406.63 | 463.16 | 1 | 73.69 | -37.69 | 463.16 | 1444.32
73.59 | 1246.31 | 459.38 | 1 | 73.59 | -47.4033 | 459.38 | 1293.7133
73.49 | 1221.72 | 456.22 | 1 | 73.49 | 22.5326 | 456.22 | 1199.1874
73.39 | 1125.94 | 453.35 | 1 | 73.39 | -17.9819 | 453.35 | 1143.9219
73.29 | 1129.36 | 450.68 | 1 | 73.29 | 12.6461 | 450.68 | 1116.7139
73.19 | 1153.41 | 448.07 | 1 | 73.19 | 43.2093 | 448.07 | 1110.2007
73.09 | 1167.14 | 445.38 | 1 | 73.09 | 47.4329 | 445.38 | 1119.7071
72.99 | 1175.25 | 442.62 | 1 | 72.99 | 32.6972 | 442.62 | 1142.5528
72.89 | 1153.29 | 439.84 | 1 | 72.89 | -24.1024 | 439.84 | 1177.3924
72.79 | 1272.39 | 436.98 | 1 | 72.79 | 48.6642 | 436.98 | 1223.7258
72.69 | 1390.02 | 433.77 | 1 | 72.69 | 108.415 | 433.77 | 1281.605
72.59 | 1423.97 | 430.18 | 1 | 72.59 | 71.9781 | 430.18 | 1351.9919
72.49 | 1460.35 | 426.36 | 1 | 72.49 | 23.6674 | 426.36 | 1436.6826
72.39 | 1563.51 | 422.32 | 1 | 72.39 | 25.48 | 422.32 | 1538.03
72.29 | 1691.48 | 417.89 | 1 | 72.29 | 32.4854 | 417.89 | 1658.9946
72.19 | 1976.17 | 412.8 | 1 | 72.19 | 172.8166 | 412.8 | 1803.3534
72.09 | 2039.99 | 406.95 | 1 | 72.09 | 63.8777 | 406.95 | 1976.1123
71.99 | 2297.55 | 400.42 | 1 | 71.99 | 113.9296 | 400.42 | 2183.6204
71.89 | 2497.67 | 393.07 | 1 | 71.89 | 64.556 | 393.07 | 2433.114
71.79 | 2820.19 | 384.71 | 1 | 71.79 | 87.7824 | 384.71 | 2732.4076
71.69 | 3060.15 | 375.21 | 1 | 71.69 | -28.4337 | 375.21 | 3088.5837
71.59 | 3342.33 | 364.59 | 1 | 71.59 | -162.4919 | 364.59 | 3504.8219
71.49 | 3837.13 | 352.54 | 1 | 71.49 | -136.4921 | 352.54 | 3973.6221
71.39 | 4352.92 | 338.52 | 1 | 71.39 | -114.1634 | 338.52 | 4467.0834
71.29 | 4791.42 | 322.43 | 1 | 71.29 | -136.0721 | 322.43 | 4927.4921
71.19 | 5438.9 | 304.07 | 1 | 71.19 | 171.3264 | 304.07 | 5267.5736
71.09 | 5466.73 | 283.99 | 1 | 71.09 | 68.7339 | 283.99 | 5397.9961
70.99 | 5120.15 | 264.03 | 1 | 70.99 | -18.6143 | 264.03 | 5138.7643
70.89 | 4454.02 | 245.88 | 1 | 70.89 | 45.8243 | 245.88 | 4408.1957
70.79 | 3482.96 | 230.89 | 1 | 70.79 | -6.1955 | 230.89 | 3489.1555
70.69 | 2585.84 | 219.64 | 1 | 70.69 | -41.3593 | 219.64 | 2627.1993
70.59 | 1816.32 | 211.74 | 1 | 70.59 | -119.2427 | 211.74 | 1935.5627
70.49 | 1361.42 | 206.3 | 1 | 70.49 | -64.4605 | 206.3 | 1425.8805
70.39 | 1007.1 | 202.47 | 1 | 70.39 | -58.9409 | 202.47 | 1066.0409
70.29 | 813.36 | 199.72 | 1 | 70.29 | -3.0583 | 199.72 | 816.4183
70.19 | 657.51 | 197.64 | 1 | 70.19 | 13.882 | 197.64 | 643.628
70.09 | 569.16 | 196.04 | 1 | 70.09 | 45.8741 | 196.04 | 523.2859
69.99 | 494.41 | 194.75 | 1 | 69.99 | 55.8935 | 194.75 | 438.5165
69.89 | 505.95 | 193.58 | 1 | 69.89 | 128.0633 | 193.58 | 377.8867
69.79 | 392.59 | 192.6 | 1 | 69.79 | 58.6333 | 192.6 | 333.9567
69.69 | 419.73 | 191.78 | 1 | 69.69 | 118.0614 | 191.78 | 301.6686
69.59 | 357.53 | 191.02 | 1 | 69.59 | 79.9994 | 191.02 | 277.5306
69.49 | 353.9 | 190.39 | 1 | 69.49 | 94.6001 | 190.39 | 259.2999
69.39 | 325.4 | 189.82 | 1 | 69.39 | 80.0896 | 189.82 | 245.3104
69.29 | 337.41 | 189.28 | 1 | 69.29 | 102.9934 | 189.28 | 234.4166
69.19 | 343.13 | 188.71 | 1 | 69.19 | 117.3616 | 188.71 | 225.7684
69.09 | 249.33 | 188.29 | 1 | 69.09 | 30.3502 | 188.29 | 218.9798
68.99 | 326.27 | 187.91 | 1 | 68.99 | 112.7401 | 187.91 | 213.5299
68.89 | 274.48 | 187.48 | 1 | 68.89 | 65.4531 | 187.48 | 209.0269
68.79 | 258.83 | 187.18 | 1 | 68.79 | 53.403 | 187.18 | 205.427
68.69 | 268.31 | 186.89 | 1 | 68.69 | 65.868 | 186.89 | 202.442
68.59 | 249.46 | 186.61 | 1 | 68.59 | 49.5152 | 186.61 | 199.9448
68.49 | 292.62 | 186.29 | 1 | 68.49 | 94.8323 | 186.29 | 197.7877
68.39 | 264.22 | 185.94 | 1 | 68.39 | 68.3142 | 185.94 | 195.9058
68.29 | 227.94 | 185.71 | 1 | 68.29 | 33.5496 | 185.71 | 194.3904
68.19 | 253.73 | 185.5 | 1 | 68.19 | 60.6343 | 185.5 | 193.0957
68.09 | 227.25 | 185.29 | 1 | 68.09 | 35.2846 | 185.29 | 191.9654
67.99 | 213.18 | 185.16 | 1 | 67.99 | 22.1296 | 185.16 | 191.0504
67.89 | 225.76 | 185.03 | 1 | 67.89 | 35.5122 | 185.03 | 190.2478
67.79 | 246.41 | 184.83 | 1 | 67.79 | 56.9413 | 184.83 | 189.4687
67.69 | 254.49 | 184.58 | 1 | 67.69 | 65.772 | 184.58 | 188.718
67.59 | 209.49 | 184.4 | 1 | 67.59 | 21.3866 | 184.4 | 188.1034
67.49 | 207.41 | 184.31 | 1 | 67.49 | 19.7755 | 184.31 | 187.6345
67.39 | 193.38 | 184.25 | 1 | 67.39 | 6.1368 | 184.25 | 187.2432
67.29 | 230.06 | 184.14 | 1 | 67.29 | 43.2177 | 184.14 | 186.8423
67.19 | 220.38 | 183.98 | 1 | 67.19 | 33.9539 | 183.98 | 186.4261
67.09 | 194.04 | 183.9 | 1 | 67.09 | 7.9203 | 183.9 | 186.1197
66.99 | 206.91 | 183.83 | 1 | 66.99 | 21.0609 | 183.83 | 185.8491
66.89 | 188.58 | 183.78 | 1 | 66.89 | 2.9592 | 183.78 | 185.6208
66.79 | 205.12 | 183.73 | 1 | 66.79 | 19.7081 | 183.73 | 185.4119
66.69 | 207.58 | 183.64 | 1 | 66.69 | 22.4001 | 183.64 | 185.1799
66.59 | 172.7 | 183.62 | 1 | 66.59 | -12.3327 | 183.62 | 185.0327
66.49 | 203.17 | 183.6 | 1 | 66.49 | 18.2715 | 183.6 | 184.8985
66.39 | 179.35 | 183.57 | 1 | 66.39 | -5.4157 | 183.57 | 184.7657
66.29 | 213.31 | 183.52 | 1 | 66.29 | 28.6871 | 183.52 | 184.6229
66.19 | 180.56 | 183.47 | 1 | 66.19 | -3.929 | 183.47 | 184.489
66.09 | 199.17 | 183.45 | 1 | 66.09 | 14.7769 | 183.45 | 184.3931
65.99 | 168.67 | 183.45 | 1 | 65.99 | -15.6541 | 183.45 | 184.3241
65.89 | 167.04 | 167.04 | 1 | 65.89 | -0.8114 | 167.04 | 167.8514
65.79 | 185.97 | 185.97 | 1 | 65.79 | -0.75426 | 185.97 | 186.7243
65.69 | 195.4 | 195.4 | 1 | 65.69 | -0.70211 | 195.4 | 196.1021
65.59 | 185.12 | 185.12 | 1 | 65.59 | -0.65443 | 185.12 | 185.7744
65.49 | 183.07 | 183.07 | 1 | 65.49 | -0.61077 | 183.07 | 183.6808
65.39 | 169.48 | 169.48 | 1 | 65.39 | -0.57073 | 169.48 | 170.0507
65.29 | 167.85 | 167.85 | 1 | 65.29 | -0.53395 | 167.85 | 168.3839
65.19 | 180.93 | 180.93 | 1 | 65.19 | -0.50011 | 180.93 | 181.4301
65.09 | 172.48 | 172.48 | 1 | 65.09 | -0.46893 | 172.48 | 172.9489
64.99 | 153.58 | 153.58 | 1 | 64.99 | -0.44018 | 153.58 | 154.0202
64.89 | 153.37 | 153.37 | 1 | 64.89 | -0.41361 | 153.37 | 153.7836
64.79 | 157.65 | 157.65 | 1 | 64.79 | -0.38904 | 157.65 | 158.039
64.69 | 135.62 | 135.62 | 1 | 64.69 | -0.36628 | 135.62 | 135.9863
64.59 | 144.8 | 144.8 | 1 | 64.59 | -0.34519 | 144.8 | 145.1452
64.49 | 145.65 | 145.65 | 1 | 64.49 | -0.3256 | 145.65 | 145.9756
64.39 | 161.35 | 161.35 | 1 | 64.39 | -0.3074 | 161.35 | 161.6574
64.29 | 174.95 | 174.95 | 1 | 64.29 | -0.29046 | 174.95 | 175.2405
64.19 | 187.42 | 187.42 | 1 | 64.19 | -0.27469 | 187.42 | 187.6947
64.09 | 160.8 | 160.8 | 1 | 64.09 | -0.25998 | 160.8 | 161.06
63.99 | 169.61 | 169.61 | 1 | 63.99 | -0.24626 | 169.61 | 169.8563
63.89 | 162.24 | 162.24 | 1 | 63.89 | -0.23343 | 162.24 | 162.4734
63.79 | 158.49 | 158.49 | 1 | 63.79 | -0.22144 | 158.49 | 158.7114
63.69 | 155.48 | 155.48 | 1 | 63.69 | -0.21022 | 155.48 | 155.6902
63.59 | 162.75 | 162.75 | 1 | 63.59 | -0.19971 | 162.75 | 162.9497
63.49 | 142.43 | 142.43 | 1 | 63.49 | -0.18985 | 142.43 | 142.6198
63.39 | 172.82 | 172.82 | 1 | 63.39 | -0.1806 | 172.82 | 173.0006
63.29 | 128.98 | 128.98 | 1 | 63.29 | -0.17191 | 128.98 | 129.1519
63.19 | 186.68 | 186.68 | 1 | 63.19 | -0.16374 | 186.68 | 186.8437
63.09 | 147.17 | 147.17 | 1 | 63.09 | -0.15606 | 147.17 | 147.3261
62.99 | 131.48 | 131.48 | 1 | 62.99 | -0.14882 | 131.48 | 131.6288
62.89 | 163.5 | 163.5 | 1 | 62.89 | -0.14201 | 163.5 | 163.642
62.79 | 142.56 | 142.56 | 1 | 62.79 | -0.13558 | 142.56 | 142.6956
62.69 | 137.88 | 137.88 | 1 | 62.69 | -0.12952 | 137.88 | 138.0095
62.59 | 133.56 | 133.56 | 1 | 62.59 | -0.12379 | 133.56 | 133.6838
62.49 | 148.29 | 148.29 | 1 | 62.49 | -0.11838 | 148.29 | 148.4084
62.39 | 154.05 | 154.05 | 1 | 62.39 | -0.11327 | 154.05 | 154.1633
62.29 | 160.6 | 160.6 | 1 | 62.29 | -0.10843 | 160.6 | 160.7084
62.19 | 128.29 | 128.29 | 1 | 62.19 | -0.10385 | 128.29 | 128.3939
62.09 | 149.28 | 149.28 | 1 | 62.09 | -0.099512 | 149.28 | 149.3795
61.99 | 168.73 | 168.73 | 1 | 61.99 | -0.0954 | 168.73 | 168.8254

## Experimental description
VAMAS Header Information
Format Identifier | VAMAS Surface Chemical Analysis Standard Data Transfer Format 1988 May 4
Institution Identifier | Not Specified
Instrument Model | Not Specified
Operator Identifier | Not Specified
Experiment Identifier | Not Specified
Number of Comment Lines | 4
Comment | Casa Info Follows CasaXPS Version 2.3.27PR1.7 0 FileDesc:230809_Pt_Plate_004_Etch1 SourceAnalyserAngle: Not Specified
Experiment Mode | NORM
Scan Mode | REGULAR
Number of Spectral Regions | 1
Number of Analysis Positions
Number of Discrete X Coordinates
Number of Discrete Y Coordinates
Block 1
Sample ID | Pt #002
Year/Month/Day | 2023/8/9
Time HH,MM,SS | 8:8:56
Technique | XPS
Species & Transition | Pt 4f
Number of scans | 1
Source Label | KA1486
Source Energy | 1486.68
Source width X | 1e+37
Source width Y | 1e+37
Pass Energy | 20
Work Function | 1e+37
Analyzer Mode | FAT
Sputtering Energy | N/A
Take-off Polar Angle | 1e+37
Take-off Azimuth | 1e+37
Target Bias | 1e+37
Analysis Width X | 1e+37
Analysis Width Y | 1e+37
X Label | Kinetic Energy
X Units | eV
X Start | 1396.68
X Step | 0.1
Num Y Values | 562
Num Scans | 1
Collection Time | 0.05
Time Correction | 1e+37
Y Unit | d
# Comment Lines | 10
Block Comment | Casa Info Follows 0 0 0 0 Pt #002 X Y [22307.5 , 37642.2] X-ray spot-size: 100 um by 100 um 230809_Pt_Plate_004_Etch1 Standard 9/8/2023 08:08:56 C:\Users\gwilh\OneDrive - Imperial College London\Documents\MEGAsync\Conference\Harwell Workshop 2024\Workshop2024\Workshop2024\CasaXPSTipsAndTricks\PtFoil_Etch2000evMid.vms